Chokio-Alberta Public School is asking for bids to replace a 7138 square foot roof that covers our Kitchen, Part of Library, Office and Staff Lounge.

Labor includes Remove Penetrations that are not needed, Cut up membrane, Sweep and clean debris from roof, Installation of Slip Sheet, Duro-Last Roofing System or Comparable roof system, Flash up the wall and bar, Secure all the edges and flash in, Flash all penetrations, Flash in curbs, Boot at vents, Flash in drains, Flash Scuppers, Tie in as needed, Remove and reinstall metal copings, Installation of new scuppers.

Bid needs to also include installation of R-14.40/ 2.5" insulation under the roof system.

Owner would provide plumber and mechanical contractor if needed.